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[bookmark: _Toc119589552]Introduction
In the document C2/113-1 the whole homologation process is described, including the necessary steps for renewal of an homologation. 
To facilitate a renewal, a standard document is provided. The relevant form to be completed is contained in the present document.
This document also contains an application form that can be used to report changes to one or more FUs of an already homologated switchgear.
[bookmark: _Toc499914217][bookmark: _Toc501033233][bookmark: _Toc501061830][bookmark: _Toc501364024][bookmark: _Toc119589553]Renewal of homologation due to the expiry of the homologation validity period
There are 3 different types of renewal each with their specific characteristics. The procedure for renewal is for each case different. The applicant determines which type of renewal applies.
If the standards referred to in the homologation procedure have been modified, or if Synergrids technical regulations have been modified, Synergrid may decide that a type of extension other than that chosen by the manufacturer is applicable.
[bookmark: _Toc119589554]No modifications to the FUs from which extension is sought and no addition of new FU’s
Please fill in case A of the form Request for renewal of homologation before expiry date.
The form can be find in annex A.
[bookmark: _Toc119589555]No modifications to the FUs from which extension is sought with addition of new FU’s
Please fill in case B of the form Request for renewal of homologation before expiry date.
The form can be find in annex A.
[bookmark: _Toc119589556]Modifications to the FUs from which extension is sought with or without addition of new FU’s
Please fill in case C of the form Request for renewal of homologation before expiry date.
The form can be find in annex A.
[bookmark: _Toc119589557]Modification of an homologation
If there is a planned modification on a homologated switchgear family, some homologated FU’s of on parts of homologated FU’s, Synergrid needs to know on forehand what the impact of the change will be.
Therefor it is necessary to fill in the form Request for modification with the foreseen changes.
The form can be find in annex B.
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	Annex A      Request for renewal of homologation prior to end date

	General information

	
	Manufacturer
	

	
	Switchgear family
	

	
	Rated current value
	

	
	Rated voltage level
	

	
	End date of current homologation
	

	
	Fus concerned
(a copy of the C2/117 will do)
	

	

	Determination of the type of renewal
(Delete/cross out what does not apply)
	A
	No modifications to the FUs for which renewal is sought and no additions of new FUs.

	
	B
	No modifications to the FUs for which renewal is sought with additional new FUs.

	
	C
	Modifications to the FUs for which renewal is sought with/without additional new FUs.

	

	Approved (to be given by the CE2 WG Switch Gear
	Yes
	No
	

	Motivation of the decision
	

	

	Technical file for Approval must contain:

	
	A	No modifications and no additions
	Part 1
	A completed document C2/113-2

	
	
	Part 2
	A declaration of honour stating explicitly that
· No modifications have taken place
· The previously submitted list C2/113-3 is still valid

	
	B	No modifications with additions
	Part 1
	A completed document C2/113-2

	
	
	Part 2
	A declaration of honour stating explicitly that
· No modifications have taken place
· The previously submitted list C2/113-3 is still valid

	
	
	Part 3
	A completed C2/113-2 for the additions and a request to start a new homologation procedure

	
	C	Modifications with or without additions
	Part 1
	A completed C2/113-2 for all the FU's and a request to start a new homologation procedure

	General remarks about the renewal
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	Annex B     Request for modification on homologated switchgear prior to implementation.

	

	General information

	
	Manufacturer
	

	
	Switchgear family
	

	
	Rated current value
	

	
	Rated voltage level
	

	

	Concerned product (FU and or part)
	

	Description of foreseen change
	

	Reason of change
	

	Technical file for approval
· Technical data (drawings, pics, etc)
· Conformity to standard Synergrid spec’s
· Test reports
	

	

	In case of federal market: accepted by lead technologist
	Yes
	No
	

	Version number by lead technologist
	

	

	Have the changes an impact on the bill of materials
	No
	Yes
	→ Prove of traceability of change available

	

	
	
	
	Old reference
	New reference

	Impacted drawings  
	NO
	Yes →
	
	

	Impacted processes  
	NO
	Yes →
	
	

	Impacted procedures  
	NO
	Yes →
	
	

	Impacted type tests        
	NO
	Yes →
	
	

	

	General remarks about the change
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